Forms Required:

A  ☐ Contribution from a Recognized Institution

B  ☒ Projects that require a human subject

C  ☐ Same project for a second year

Science Fair Proposal Form

Experimental Project

Name of participants:  Gabriel Mamane

Grade level:  ____________   (fill in your grade)

Project Category:

☐  Life Sciences

☐  Health Sciences

☐  Human Sciences

☐  Biotechnologies

☒  Health and Medical Sciences

☐  Environmental Sciences

☐  Physical Sciences and Mathematics

☐  Engineering and Computer Sciences

Title:  (30 character maximum)

Night Signal: Apnea Detector

(28 characters)

Experimental Question:

Can a low-cost (about $35) wearable sensor detect the blood-oxygen drops caused

by sleep apnea accurately enough to estimate how many events happen per hour —

the way a clinical sleep study measures them?

Preliminary Hypothesis:

During sleep apnea, breathing pauses make blood oxygen (SpO₂) dip and heart rate

change. If a wearable measures both about once per second all night, then software

can detect these desaturation events, count them per hour (an AHI estimate), and sort

the night into the standard bands — Normal, Mild, Moderate, or Severe — showing

that an inexpensive device can screen for signs of sleep apnea.

Dependent variable(s):

The number of desaturation (apnea) events the software detects, and the resulting

estimated AHI (events per hour) and severity category.

Independent variable(s):

The number and duration of breathing-pause events produced during a test session,

created safely with short, voluntary breath-holds while the subject is awake and

supervised.

Controls:

•  Same sensor and fingertip placement for every recording

•  Same subject within a given comparison

•  Same room temperature and lighting

•  Same detection settings (3% SpO₂ drop threshold, 10-second minimum event

length, 120-second moving baseline)

•  Same sampling rate of about one reading per second

Note: This is an educational prototype, not a medical device, and will not be used to diagnose or treat anyone. Human-subject testing uses only short, voluntary, supervised breath-holds while awake — see Form B.